## DXHtgCoils
Degradation Coefficient (C_d)
Demand Defrost Credit (F_def)
HSPF or COP
Standby Power (W)
Air Entering Outdoor Coil Dry-Bulb (deg. F) | Air Entering Outdoor Coil Wet-Bulb (deg. F) | Outdoor Air Relative Humidity (%) | Entering Air Indoor Coil Dry-Bulb (deg. F) | Total Capacity (W or Btu/h) | Sensible Capacity (W or Btu/h) | Total Unit Power (kW) | Defrost Operation (Y/N) | Supply Fan Airflow (m3/s or cfm) | Supply Fan Power (W) | Outside Fan Power (W) | Compressor Stage
20 | 15 | 30 | 45
30 | 23 | 30 | 45
40 | 31 | 30 | 45
50 | 38 | 30 | 45
60 | 46 | 30 | 45
75 | 57 | 30 | 45
20 | 15 | 30 | 55
30 | 23 | 30 | 55
40 | 31 | 30 | 55
50 | 38 | 30 | 55
60 | 46 | 30 | 55
75 | 57 | 30 | 55
20 | 15 | 30 | 65
30 | 23 | 30 | 65
40 | 31 | 30 | 65
50 | 38 | 30 | 65
60 | 46 | 30 | 65
75 | 57 | 30 | 65
20 | 15 | 30 | 75
30 | 23 | 30 | 75
40 | 31 | 30 | 75
50 | 38 | 30 | 75
60 | 46 | 30 | 75
75 | 57 | 30 | 75
20 | 17 | 50 | 45
30 | 25 | 50 | 45
40 | 34 | 50 | 45
50 | 42 | 50 | 45
60 | 50 | 50 | 45
75 | 63 | 50 | 45
20 | 17 | 50 | 55
30 | 25 | 50 | 55
40 | 34 | 50 | 55
50 | 42 | 50 | 55
60 | 50 | 50 | 55
75 | 63 | 50 | 55
20 | 17 | 50 | 65
30 | 25 | 50 | 65
40 | 34 | 50 | 65
50 | 42 | 50 | 65
60 | 50 | 50 | 65
75 | 63 | 50 | 65
20 | 17 | 50 | 75
30 | 25 | 50 | 75
40 | 34 | 50 | 75
50 | 42 | 50 | 75
60 | 50 | 50 | 75
75 | 63 | 50 | 75
20 | 19 | 80 | 45
30 | 28 | 80 | 45
40 | 38 | 80 | 45
50 | 47 | 80 | 45
60 | 56 | 80 | 45
75 | 70 | 80 | 45
20 | 19 | 80 | 55
30 | 28 | 80 | 55
40 | 38 | 80 | 55
50 | 47 | 80 | 55
60 | 56 | 80 | 55
75 | 70 | 80 | 55
20 | 19 | 80 | 65
30 | 28 | 80 | 65
40 | 38 | 80 | 65
50 | 47 | 80 | 65
60 | 56 | 80 | 65
75 | 70 | 80 | 65
20 | 19 | 80 | 75
30 | 28 | 80 | 75
40 | 38 | 80 | 75
50 | 47 | 80 | 75
60 | 56 | 80 | 75
75 | 70 | 80 | 75
Note on B2: As per AHRI 210-240
Note on B3: As per AHRI 210-240
Note on B7: - Range: 20-75 deg. F - Include rated conditions
Note on E7: - Range: 45-75 deg. F - Include rated conditions
Note on I7: If (Y) indicate total unit power when in defrost mode if using a reverse-cycle strategy